## Sheet1
Goodwill Vero Beach - Interior Exterior Fixture Schedule
LIGHTING FIXTURE SCHEDULE
QTY | TYPE | MANUFACTURER | CATALOG NUMBER | DESCRIPTION | LAMPS |  |  | VOLTS | MOUNTING | REMARKS | TOTAL WATTS | UNIT COST
[5 empty] | Qty | Type | Total Wattage
| SA | PHILIPS GARDCO | ECF-2-2/3/4/5-215LA-NW-UNV-XX-PTF2 | SITE AND AREA LED FIXTURE TYPE 2-5 OPTICS | 12 | LED | 420-1051 | UNIV | POLE TOP
| P | PRECAST | TYPE II-0 | 35' POLE CONCRETE POLE WITH SANTARD 5" PIPE TENON | 12 | LED | NA | UNIV | POLE
| W2 | PHILIPS GARDCO | 161-CWL-220LA-9607-NW-UNIV-XX | LED EXTERIOR WALL PACK | 2 | LED | 210 | UNIV | WALL
LIGHTING SCHEDULE NOTES:
1. CONTACT SESCO LIGHTING (Gwyn LaCross) @ 917-783-1191 OR glacross@sescolighting.com
2. THE ABOVE FIXTURE SCHEDULE IS PREDICATED ON PERFORMANCE AND IS DESIGNED TO MEET CERTAIN AESTHETIC CRITERIA. ALL ALTERNATIVE SELECTIONS MUST BE SUBMITTED TO THE ARCHITECT FOR APPROVAL TEN (10) DAYS PRIOR TO BID DATE.
3. SUBMITTAL MUST INCLUDE ITL CERTIFIED PHOTOMETRIC FILES FOR REVIEW OF EQUALITY.
4. NO SUBSITUTIONS ALLOWED.