KUOPPALA & ASSOCIATES, P.A.

ARCHITECTS

925 S. MILITARY TRAIL D-10              www.kuoppala.com		                    (561) 682-1909

WEST PALM BEACH, FL.  33415              #AAC 001656	       	            (561) 682-1975 Fax

May 3, 2016

To:	Fired up Pizza Bidders

ADDENDUM #1

ITEM NO. 1:  	Electrical service shell contractor did not install two 3”ø conduits each to Suites #1 & 2 per shell plans, only one to each Suite.  Restaurant contractor shall remove one 3”ø conduit for Suite #1 and replace with one 4”ø conduit with new feeders per plan.

ITEM NO. 2:	Items #62 & 67 allowance:  $7,000.00 allowance for millwork and stainless steel countertops with splashes at 5 locations at front serving counter area.  This allowance is separate from $1,800.00 allowance for cabinets/countertops shown on Proposal sheet P-3 (Note #1).

ITEM NO. 3:	Site access – South exterior doors are open during regular business hours.  If doors are locked, call Martin Blackburn, shell contractor, at (561) 267-5941 to coordinate access,

END OF ADDENDUM

Acknowledge Addendum #1 on Bid Proposal.